AI-Powered Anomaly Detection in Image-Guided Surgeries

1. Problem Statement

Image-guided surgeries rely heavily on human expertise to detect anomalies such as tumors, misalignments, or distortions. Current approaches are prone to fatigue-induced errors, lack real-time feedback, and offer limited explainability—posing risks to patient safety.

2. Clinical Needs

Surgeons require more than simple anomaly detection. Key requirements include:

- Localization of anomalies within organ structures

- Visual evidence for immediate validation

- Confidence scoring to gauge reliability

- Concise, automated reports for decision support

3. Proposed Solution

A real-time, explainable AI pipeline integrating:

- CNN-based segmentation for organ delineation (liver, initially)

- Diffusion models (DDPM + DDIM) for reconstructing healthy anatomy

- Residual heatmaps to highlight deviations

- Traffic-light scoring system for intuitive alerts

- Automated clinical reporting to summarize findings

4. Pipeline Workflow

| Step | Description |
| --- | --- |
| 1 | Preprocess input CT slice |
| 2 | Segment liver using CNN |
| 3 | Reconstruct healthy slice with DDIM |
| 4 | Generate residual heatmap (input vs reconstruction) |
| 5 | Score anomalies with traffic-light system |
| 6 | Auto-generate structured report |
| 7 | Display original slice, reconstruction, heatmap, and report |

5. Model Architecture

| Task | Model | Notes |
| --- | --- | --- |
| Liver Segmentation | CNN (U-Net) | Lightweight, trained on chaos |
| Healthy Reconstruction | DDPM + DDIM | Unsupervised diffusion model for anomaly detection |
| Anomaly Localization | Residual Heatmap | Pixel-wise difference highlights abnormal regions |
| Anomaly Scoring | Rule-based | Green/Yellow/Red based on heatmap intensity |
| Reporting | Agentic AI | Structured clinical summaries generated automatically |

6. System Block Diagram

7. Advantages

- Label-efficient: Unsupervised learning reduces dependency on annotated datasets

- Explainable: Heatmaps and traffic-light scoring make anomalies interpretable

- Actionable: Structured reports support faster clinical decision-making

- Real-time capable: Lightweight models allow near-instant feedback

8. Feasibility

- Public datasets (CHAOS) available for training

- Modular architecture supports seamless hospital integration

- Lightweight design enables real-time inference

9. Future Enhancements

- Expand to multi-organ detection (lungs, brain, spine)

- Extend to 3D volumetric anomaly mapping

- Integrate with PACS and hospital EMR systems

- Upgrade to foundation models for generalizable detection

- Incorporate semi-supervised learning with expert feedback